Live Plug Connector

Technical Specifications V2.5

Worldwide Locations

| World Headquarters, United States of America | Central/South America and the Caribbean |
| --- | --- |
| Vivax-Metrotech Corporation 3251 Olcott Street, Santa Clara, CA 95054, USA T/Free : 1-800-638-7682 Tel : +1-408-962-9990 Fax : +1-408-734-1799 Website : www.vivax-metrotech.com Email : SalesUSA@vxmt.com | Ventas para América Latina 3251 Olcott Street, Santa Clara, CA 95054, USA T/Free : 1-800-446-3392 Tel : +1-408-734-1400 Fax : +1-408-743-5597 Website : www.vivax-metrotech.com Email : LatinSales@vxmt.com |
| Canada | United Kingdom |
| Vivax Canada, Inc. 41 Courtland Ave Unit 8, Vaughan, ON L4K 3T3, Canada Tel : +1-289-846-3010 Fax : +1-905-752-0214 Website : www.vivax-metrotech.com Email : SalesCA@vxmt.com | Vivax-Metrotech Ltd. Unit 1, B/C Polden Business Centre, Bristol Road, Bridgwater, Somerset, TA6 4AW, UK Tel : +44(0)1793 822679 Website : www.vivax-metrotech.com Email : SalesUK@vxmt.com |
| France | Germany |
| Vivax-Metrotech SAS Technoparc ‐ 1 allée du Moulin Berger, 69130 Ecully, France Tel : +33(0)4 72 53 03 03 Fax : +33(0)4 72 53 03 13 Website : www.vivax-metrotech.fr Email : SalesFR@vxmt.com | Metrotech Vertriebs GmbH Am steinernen Kreuz 10a D-96110 Schesslitz Tel : +49 954 277 227 43 Website : www.vivax-metrotech.de Email : SalesEU@vxmt.com |

- Typical Applications

| Item | Parameter |
| --- | --- |
| Description | Live Plug Connector (LPC Separation Filter) |
| Uses | To apply the transmitter signal to target lines carrying up to 240V AC |

- Characteristics

| Item | Parameter |
| --- | --- |
| Construction | High impact ABS injection molded housing |
| Weight | 0.8lbs (0.36kg) |
| Dimension | 2.5-inch (Dia.) x 6.2-inch (L) (64mm x 156.4mm) |
| Temperature Range | Operating: -4ºF to 122ºF (-20ºC to 50ºC) Storage: -40ºF to 140ºF (-40ºC to 60ºC) |
| What's in the Box | - Live Plug Connector - 3-Pin Power cord (per region) - Quick Guide |
| External Connectors | 1 x XLR 3-Pin plug connects to the transmitter 1 x 3-Pin AC Plug for up to 240V AC |
| Compatible Transmitters | Loc3 series, Loc series, VM series, vScan |

- Operational

| Item | Parameter |
| --- | --- |
| Controls | Rotary knob – phase switching |
| Operating Frequencies | 8 kHz, 33 kHz, 65 kHz |

- Shipping and Packaging

| Item | Parameter |
| --- | --- |
| Shipping Weight | 1.4lbs (0.64kg) |
| Shipping Dimensions | 8.7-inch(L) x 5-inch(W) x 2.7-inch(H) (222mm x 127mm x 68mm) |

- Warranty

| Item | Parameter |
| --- | --- |
| Warranty | 12 months |

All products are designed and manufactured per ISO 9001:2015.

Disclaimer: Product and accessory specification and availability information are subject to change without prior notice.